## Slide 1: Industrial Hygiene Equipment Overview
if you want it, we got it…
Presented by: ETTA Bureau, OSH Division, 919-707-7876
Notes: Revised 2020
The information in this presentation is provided voluntarily by the N.C. Department of Labor, Education Training and Technical Assistance Bureau as a public service and is made available in good faith. This presentation is designed to assist trainers conducting OSHA outreach training for workers. Since workers are the target audience, this presentation emphasizes hazard identification, avoidance, and control – not standards. No attempt has been made to treat the topic exhaustively. It is essential that trainers tailor their presentations to the needs and understanding of their audience.
The information and advice provided on this Site and on Linked Sites is provided solely on the basis that users will be responsible for making their own assessment of the matters discussed herein and are advised to verify all relevant representations, statements, and information.
This presentation is not a substitute for any of the provisions of the Occupational Safety and Health Act of North Carolina or for any standards issued by the N.C. Department of Labor. Mention of trade names, commercial products, or organizations does not imply endorsement by the N.C. Department of Labor.
NCDOL Resources:
SN 56A Heavy and Light Duty Pneumatic Staplers
STD 1-12.1 Guarding of Fan Blades
STD 1-12.4 Radial Saws - Labeling
STD 1-12.14 Power Transmission Belts
STD 1-12.15 Automatic Cut-off Saws - Guards
STD 1-12.17 Radial Saws - Guards
STD 1-12.18 Ripsaws, Cutoff Saws, & Radial Saws
STD 1-12.19 Sewing Machines - Guards
STD 1-12.22 Engraving Presses – Guards
STD 1-12.23A Three-Roller Printing Ink Mills - Guards
STD 1-12.25A Metal Cutting Shears – Awareness Barriers
STD 1-12.26A Cutoff Wheels and Masonry Saws
STD 1-12.27 Mechanical Power Presses and Iron Workers
STD 1-13.1 Air Nozzle Pressure for Cleaning
STD 1-13.4 Portable Belt Sanders - Guards

## Slide 2: Objectives
In this course, we will discuss the following:
  Why is it important?
  IH equipment
  Calibrations and accuracy
  Effectively managing your time
  Group work
1926 Subpart I
Notes: Describe the objectives to the students, explaining what they will learn in this course.

## Slide 3: Why is it important?
Familiarize yourself with all of our equipment
Ability to evaluate and quantify
Save time and increase effectiveness
Knowledge is power

## Slide 4: Indoor Air Quality- Jill Warren
Boroscope
  Fungal growth
4-gas meter
  LEL
  H2S
  CO
  O2
Qtrak
  CO
  CO2
  T and H

## Slide 5: Active air sampling – John Jaskolka
Pumps
  High flow
  Low flow
Calibrators
Cyclones
  Dorr-oliver
  Aluminum
Media

## Slide 6: Active air sampling – John Jaskolka
What is this????

## Slide 7: Noise – Paul Sullivan
Dosimeters
  violation
Octave band analyzers
  abatements
Sound level meters
  screening

## Slide 8: Heat stress– Grant Quiller
WBGT
  handheld

## Slide 9: IH Equipment
Draeger CMS
  Acids
  Formaldehyde
Dusttrak
  Total & respirable dust
  Mass concentration?
MIE PDR
  Total & respirable dust

## Slide 10: IH Equipment
ToxiRAE – Single Gas
  CO
  CO2
  CL
  NH3
ToxiRAE PID
  VOC
  10.6 lamp

## Slide 11: IH Equipment
Jerome J405
  Mercury vapor
Extech
  EMF
TIFF 5650
  Halogen detector

## Slide 12: Other Equipment
Tachometer
Force gauge
pH monitor
Light meter
Calipers
Screens
Slip meter
Measuring wheel
Intrinsically safe camera

## Slide 13: Calibration and accuracy
Annual calibrations
  Dustrak
  Qtrak
  WBGT
  Dosimeters
  Calibrators
Maintain these records

## Slide 14: Calibration and accuracy
Calibration gas
  Single gas
  VOC
  4-gas
Active air sampling
  Within 5%

## Slide 15: Calibration and accuracy
Why is this important??!!

## Slide 16: Effectively managing your time
Required to quantify all air contaminant complaints
Permissible Exposure Limits
  8-hour time-weighted averages
  Short-term exposure limits
  Ceilings
Make the best use of your time
  What does the OSHA Technical manual say

## Slide 17: Effectively managing your time
Can you conduct full shift sampling on every inspection?

## Slide 18: Group work #1
Referral 203448295 Smithfield Packaging
  Due to equipment failure in the ventilation system of the production equipment, there was a nitrogen leak that displaced oxygen in the processing area. Five employees were taken to the hospital and treated and released.

## Slide 19: Group work #2
Complaint 209612654 Sealand
  Employees are operating concrete saws without wearing respiratory protection and are exposed to the dust. The work is being performed in the evenings.

## Slide 20: Group work
Complaint #209677327 Chicago Tube and Iron
  Employees are experiencing symptoms, including headaches and nausea, due to being exposed to smoky fumes, from MASTERDRAW® lubricant, coming from the induction oven, and filling the air.

## Slide 21: Group work
Complaint #209654250 Tarheel Marble Company, Inc.
  Employees are experiencing coughing and sneeze while inside the facility. Employees are inhaling dust from the polishing of marble and gas fumes from a machine used to warm parts. Employees are not provided proper mask while inside the facility.

## Slide 22: Summary
In this course, we discussed:
  Why is it important?
  IH equipment
  Calibrations and accuracy
  Effectively managing your time

## Slide 23: Thank You For Attending!
Final Questions?
1-800-NC-LABOR
(1-800-625-2267)
www.labor.nc.gov