Trenching and excavation work presents serious hazards to all workers involved. Cave-ins pose the greatest risk and are more likely than some other excavation-related incidents to result in worker fatalities. Employers must ensure that workers enter trenches only after adequate protections are in place to address cave-in hazards. Other potential hazards associated with trenching work includes falling loads, hazardous atmospheres, and hazards from mobile equipment. Use this questionnaire to gather information during an inspection involving trenching and excavation. 29 CFR 1926, Subpart P.

Date: _____________ Time: ______________________ Employer: _________________________________________________________________________ Competent person name and title: _____________________________________________________ Address/Location of the trench: ______________________________________________________ Weather conditions at time of visit: ___________________________________________________ Completion date/time expected: ______________________________________________________

Competent Person Evaluation Training: Does the competent person have knowledge of: Soil Analysis: Yes / No Protective Systems: Yes / No Standard requirements: Yes / No Notes:___________________________________________________________________________ _________________________________________________________________________________ Authority: Does the Competent Person have authority to: Take prompt correction action to eliminate existing and potential hazards: Yes / No Stop work Authorization: Yes / No Notes:___________________________________________________________________________ _________________________________________________________________________________ Application of Standard: Does the Competent Person have knowledge of Appendix A&B of the standard on sloping and shoring systems or Appendix A & D on constructing protective systems: Yes / No Notes:___________________________________________________________________________ _________________________________________________________________________________ Did the competent person choose the proper slopping or benching configuration in accordance with Appendix B, or proper shoring from Appendix C or D: Yes / NO If No, can the Competent Person properly explain the following: Soil Classification: Yes / No Conducting visual tests: Yes / No Conducting manual test: Yes / No Did any conditions change since classification: Yes / No If Yes, what changed: ___________________________________________________________ Competent Person Site Knowledge Size and kind of pipe/line: ___________________________________________________________ Equipment used for digging: _________________________________________________________ Width of backhoe/excavator bucket: ___________________________________________________ Was water or seep line observed in trench: ______________________________________________ Was trench near: road / RR tracks Distance: _________________________________________ Was other mechanized equipment in or near the location: __________________________________ Is Dewatering Equipment being used: __________________________________________________ Competent person knowledge on use: __________________________________________________

Competent Person Inspection Time competent person inspected trench: ______________________________________________ How long has trench been open: ______________________________________________________ Has it rained while trench was open: Yes / No Previously disturbed soil: Yes / No Are underground installations protected / braced / removed for employee’s safety: Yes / No Are there any underground utilities: Yes / No Name of utilites: electrical / gas / phone / other ____________________________________________ Have the power and gas companies been notified: Yes / No Name of companies: _________________________________________________________________ Did competent person take soil tests: Yes / No Analysis made: ____________________________ Outside firm that did the analysis: ___________________________________________________

CSHO’s Observations Were employees in trench at direction of management: Yes / No Any evidence of employees working in trench: Yes / No Were employees working under backhoe/excavator bucket: Yes / No Was pipe lifted over employee’s heads: Yes / No If any answered (Yes)…. names of exposed employees: ______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ How far were employees from exit: ___________________________________________________ Means of exit: _________________________________________________________________ Are employees in trench protected: Yes / No Protective measures: ____________________________________________________________ Were emergency communications present: Yes / No Distance from trench: ___________________________________________________________ Does side and surface area have signs of: cracks / fissures / spalling / overhangs Previously disturbed soil: Yes / No Spoil pile height: ___________________________________________________________________ Distance from trench: ____________________________________________________________

CSHO’s Observations Were employees in trench at direction of management: Yes / No Any evidence of employees working in trench: Yes / No Were employees working under backhoe/excavator bucket: Yes / No Was pipe lifted over employee’s heads: Yes / No If any answered (Yes)…. names of exposed employees: ______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ _______________________________________________________________________ How far were employees from exit: ___________________________________________________ Means of exit: _________________________________________________________________ Are employees in trench protected: Yes / No Protective measures: ____________________________________________________________ Were emergency communications present: Yes / No Distance from trench: ___________________________________________________________ Does side and surface area have signs of: cracks / fissures / spalling / overhangs Previously disturbed soil: Yes / No Spill pile height: ___________________________________________________________________ Distance from trench: ____________________________________________________________

# Measurements Taken at Exposure Shallowest depth: Deepest depth: ____________________________ Widest width: Narrowest width: _____________________ Excavation length: Plasticity: Dry strength: Thumb penetration: Location/Distance of Soil pile: _______________ Soil Classification: